## Instructions
Medical Center Hazard and Vulnerability Analysis
INSTRUCTIONS:
Evaluate potential for event and response among the following categories using
the hazard specific scale.
Issues to consider for probability include, but are not limited to:
1 | Known risk
2 | Historical data
3 | Manufacturer/vendor statistics
Issues to consider for response include, but are not limited to:
1 | Time to marshal an on-scene response
2 | Scope of response capability
3 | Historical evaluation of response success
Issues to consider for human impact include, but are not limited to:
1 | Potential for staff death or injury
2 | Potential for patient death or injury
Issues to consider for property impact include, but are not limited to:
1 | Cost to replace
2 | Cost to set up temporary replacement
3 | Cost to repair
Issues to consider for business impact include, but are not limited to:
1 | Business interruption
2 | Employees unable to report to work
3 | Customers unable to reach facility
4 | Company in violation of contractual agreements
5 | Imposition of fines and penalties or legal costs
6 | Interruption of critical supplies
7 | Interruption of product distribution
Issues to consider for preparedness include, but are not limited to:
1 | Status of current plans
2 | Training status
3 | Insurance
4 | Availability of back-up systems
5 | Community resources
Issues to consider for internal resources include, but are not limited to:
1 | Types of supplies on hand
2 | Volume of supplies on hand
3 | Staff availability
4 | Coordination with MOB's
Issues to consider for external resources include, but are not limited to:
1 | Types of agreements with community agencies
2 | Coordination with local and state agencies
3 | Coordination with proximal health care facilities
4 | Coordination with treatment specific facilities
Complete all worksheets including Natural, Technological, Human and Hazmat. The summary
section will automatically provide your specific and overall relative threat.

## Natural Hazards
HAZARD AND VULNERABILITY ASSESSMENT TOOL
NATURALLY OCCURRING EVENTS
SEVERITY = (MAGNITUDE - MITIGATION)
EVENT | PROBABILITY | HUMAN IMPACT | PROPERTY IMPACT | BUSINESS IMPACT | PREPARED-NESS | INTERNAL RESPONSE | EXTERNAL RESPONSE | RISK
| Likelihood this will occur | Possibility of death or injury | Physical losses and damages | Interuption of services | Preplanning | Time, effectivness, resouces | Community/ Mutual Aid staff and supplies | Relative threat*
SCORE | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 - 100%
Hurricane | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Tornado | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 33.33%
Severe Thunderstorm | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 66.67%
Snow Fall | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 66.67%
Blizzard | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 44.44%
Ice Storm | 2 | 1 | 1 | 2 | 2 | 2 | 2 | 37.04%
Earthquake | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 22.22%
Tidal Wave | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Temperature Extremes | 2 | 1 | 1 | 1 | 2 | 2 | 2 | 33.33%
Drought | 2 | 1 | 1 | 1 | 2 | 2 | 2 | 33.33%
Flood, External | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 40.74%
Wild Fire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Landslide | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Dam Inundation | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 11.11%
Volcano | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Epidemic | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 16.67%
AVERAGE SCORE | 1.3125 | 1 | 1.0625 | 1.125 | 1.25 | 1.25 | 1.25 | 16.86%
*Threat increases with percentage.
21 |  | RISK = PROBABILITY * SEVERITY
111 |  | 0.16862 | 0.4375 | 0.38542

## Technological Hazards
HAZARD AND VULNERABILITY ASSESSMENT TOOL
TECHNOLOGIC EVENTS
SEVERITY = (MAGNITUDE - MITIGATION)
EVENT | PROBABILITY | HUMAN IMPACT | PROPERTY IMPACT | BUSINESS IMPACT | PREPARED-NESS | INTERNAL RESPONSE | EXTERNAL RESPONSE | RISK
| Likelihood this will occur | Possibility of death or injury | Physical losses and damages | Interuption of services | Preplanning | Time, effectivness, resouces | Community/ Mutual Aid staff and supplies | Relative threat*
SCORE | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 - 100%
Electrical Failure | 1 | 1 | 2 | 3 | 2 | 2 | 2 | 22.22%
Generator Failure | 1 | 0 | 0 | 2 | 1 | 1 | 1 | 9.259%
Transportation Failure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 11.11%
Fuel Shortage | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 18.52%
Natural Gas Failure | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 12.96%
Water Failure | 1 | 1 | 1 | 3 | 1 | 1 | 1 | 14.81%
Sewer Failure | 1 | 1 | 1 | 3 | 1 | 1 | 1 | 14.81%
Steam Failure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Fire Alarm Failure | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 14.81%
Communications Failure | 2 | 1 | 1 | 3 | 2 | 2 | 3 | 44.44%
Medical Gas Failure | 1 | 1 | 1 | 3 | 2 | 1 | 2 | 18.52%
Medical Vacuum Failure | 1 | 1 | 1 | 2 | 2 | 1 | 0 | 12.96%
HVAC Failure | 1 | 1 | 1 | 2 | 2 | 1 | 0 | 12.96%
Information Systems Failure | 1 | 1 | 1 | 2 | 2 | 1 | 0 | 12.96%
Fire, Internal | 1 | 1 | 1 | 3 | 2 | 1 | 2 | 18.52%
Flood, Internal | 1 | 1 | 1 | 3 | 3 | 1 | 2 | 20.37%
Hazmat Exposure, Internal | 1 | 1 | 1 | 2 | 3 | 1 | 2 | 18.52%
Supply Shortage | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 14.81%
Structural Damage | 1 | 1 | 1 | 3 | 2 | 1 | 2 | 18.52%
AVERAGE SCORE | 1 | 0.89474 | 1 | 2.2632 | 1.6842 | 1.1053 | 1.2632 | 15.2%
*Threat increases with percentage.
19 |  | RISK = PROBABILITY * SEVERITY
156 |  | 0.15205 | 0.33333 | 0.45614

## Human Hazards
HAZARD AND VULNERABILITY ASSESSMENT TOOL
HUMAN RELATED EVENTS
SEVERITY = (MAGNITUDE - MITIGATION)
EVENT | PROBABILITY | HUMAN IMPACT | PROPERTY IMPACT | BUSINESS IMPACT | PREPARED-NESS | INTERNAL RESPONSE | EXTERNAL RESPONSE | RISK
| Likelihood this will occur | Possibility of death or injury | Physical losses and damages | Interuption of services | Preplanning | Time, effectivness, resouces | Community/ Mutual Aid staff and supplies | Relative threat*
SCORE | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 - 100%
Mass Casualty Incident (trauma) | 1 | 2 | 1 | 2 | 2 | 1 | 1 | 16.67%
Mass Casualty Incident (medical/infectious) | 1 | 2 | 1 | 3 | 2 | 2 | 2 | 22.22%
Terrorism, Biological | 1 | 1 | 1 | 2 | 3 | 2 | 2 | 20.37%
VIP Situation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Infant Abduction | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Hostage Situation | 1 | 1 | 1 | 1 | 3 | 2 | 2 | 18.52%
Civil Disturbance | 1 | 1 | 1 | 1 | 3 | 2 | 2 | 18.52%
Labor Action | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Forensic Admission | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Bomb Threat | 1 | 1 | 2 | 3 | 2 | 2 | 2 | 22.22%
AVERAGE | 0.6 | 0.8 | 0.7 | 1.2 | 1.5 | 1.1 | 1.1 | 7.111%
*Threat increases with percentage.
6 |  | RISK = PROBABILITY * SEVERITY
64 |  | 0.071111 | 0.2 | 0.35556

## Hazardous Materials
HAZARD AND VULNERABILITY ASSESSMENT TOOL
EVENTS INVOLVING HAZARDOUS MATERIALS
SEVERITY = (MAGNITUDE - MITIGATION)
EVENT | PROBABILITY | HUMAN IMPACT | PROPERTY IMPACT | BUSINESS IMPACT | PREPARED-NESS | INTERNAL RESPONSE | EXTERNAL RESPONSE | RISK
| Likelihood this will occur | Possibility of death or injury | Physical losses and damages | Interuption of services | Preplanning | Time, effectivness, resouces | Community/ Mutual Aid staff and supplies | Relative threat*
SCORE | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 = N/A 1 = High 2 = Moderate 3 = Low or none | 0 - 100%
Mass Casualty Hazmat Incident (From historic events at your MC with >= 5 victims) | 1 | 2 | 1 | 2 | 2 | 3 | 2 | 22.22%
Small Casualty Hazmat Incident (From historic events at your MC with < 5 victims) | 2 | 2 | 1 | 2 | 2 | 3 | 3 | 48.15%
Chemical Exposure, External | 2 | 2 | 1 | 2 | 2 | 3 | 3 | 48.15%
Small-Medium Sized Internal Spill | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 16.67%
Large Internal Spill | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 16.67%
Terrorism, Chemical | 1 | 2 | 1 | 2 | 2 | 2 | 2 | 20.37%
Radiologic Exposure, Internal | 1 | 2 | 1 | 2 | 2 | 2 | 2 | 20.37%
Radiologic Exposure, External | 1 | 2 | 1 | 2 | 3 | 3 | 3 | 25.93%
Terrorism, Radiologic | 1 | 2 | 1 | 2 | 3 | 3 | 3 | 25.93%
AVERAGE | 1.2222 | 1.7778 | 1 | 1.7778 | 2.2222 | 2.5556 | 2.4444 | 26.66%
*Threat increases with percentage.
11 |  | RISK = PROBABILITY * SEVERITY
106 |  | 0.26658 | 0.40741 | 0.65432

## Summary
SUMMARY OF MEDICAL CENTER HAZARDS ANALYSIS
| Natural | Technological | Human | Hazmat | Total for Facility
Probability | 0.4375 | 0.33333 | 0.2 | 0.40741 | 0.35185
Severity | 0.38542 | 0.45614 | 0.35556 | 0.65432 | 0.44959
Hazard Specific Relative Risk: | 0.16862 | 0.15205 | 0.071111 | 0.26658 | 0.15819